## Plate 1 - Sheet1
Software Version | 3.11.19
Experiment File Path:
Protocol File Path:
Plate Number | Plate 1
Date | 2023-09-15
Time | 15:51
Reader Type: | Synergy H1
Reader Serial Number: | 14092513
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Absorbance Endpoint
Full Plate
Wavelengths: 460, 470, 720
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Green)
Excitation: 485/20, Emission: 528/20
Mirror: Top 510 nm, Gain: 35
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 25.8
Actual Temperature: | 25.8
Actual Temperature: | 25.8
Actual Temperature: | 25.8
|  | 1 | 2 | 3 | 4 | 5 | 6 |  | 8 | 9 | 10 | 11 | 12
| A | 0.431 | 0.81 | 0.426 | 0.56 | 2.229 | 0.492 | Read 1:460 | 0.054 | 0.06 | 0.053 | 0.065 | 0.065 | Read 1:460
|  | 0.419 | 0.798 | 0.414 | 0.543 | 2.207 | 0.479 | Read 1:470 | 0.053 | 0.06 | 0.052 | 0.063 | 0.065 | Read 1:470
|  | 0.041 | 0.261 | 0.048 | 0.041 | 1.666 | 0.041 | Read 1:720 | 0.047 | 0.051 | 0.045 | 0.052 | 0.056 | Read 1:720
|  | 104224 | 95638 | 100523 | 100102 | 97741 | 102581 | Read 2:485/20,528/20 | 56291 | 52836 | 55792 | 52044 | 51107 | Read 2:485/20,528/20
| B | 0.383 | 0.308 | 0.292 | 0.418 | 0.51 | 0.465 | Read 1:460 | 0.053 | 0.056 | 0.059 | 0.054 | 0.054 | Read 1:460
|  | 0.373 | 0.3 | 0.284 | 0.407 | 0.496 | 0.451 | Read 1:470 | 0.052 | 0.055 | 0.058 | 0.053 | 0.054 | Read 1:470
|  | 0.06 | 0.041 | 0.042 | 0.04 | 0.041 | 0.04 | Read 1:720 | 0.046 | 0.048 | 0.051 | 0.046 | 0.046 | Read 1:720
|  | 154316 | 136926 | 165231 | 156432 | 161828 | 152407 | Read 2:485/20,528/20 | 53935 | 54443 | 54080 | 53868 | 52719 | Read 2:485/20,528/20
| C | 0.456 | 0.491 | 0.587 | 0.044 | 0.042 | 0.044 | Read 1:460 | 0.053 | 0.055 | 0.061 | 0.056 | 0.054 | Read 1:460
|  | 0.444 | 0.478 | 0.571 | 0.043 | 0.041 | 0.043 | Read 1:470 | 0.052 | 0.054 | 0.06 | 0.055 | 0.053 | Read 1:470
|  | 0.04 | 0.042 | 0.046 | 0.039 | 0.037 | 0.038 | Read 1:720 | 0.045 | 0.047 | 0.051 | 0.048 | 0.046 | Read 1:720
|  | 95164 | 93836 | 105592 | 61892 | 57876 | 62720 | Read 2:485/20,528/20 | 55161 | 55421 | 55073 | 57984 | 52031 | Read 2:485/20,528/20
| D | 0.052 | 0.052 | 0.053 | 1.447 | 0.461 | 0.444 | Read 1:460 | 0.064 | 0.056 | 0.055 | 0.053 | 0.056 | Read 1:460
|  | 0.052 | 0.052 | 0.052 | 1.425 | 0.449 | 0.431 | Read 1:470 | 0.062 | 0.055 | 0.054 | 0.052 | 0.055 | Read 1:470
0.53 |  | 0.046 | 0.046 | 0.046 | 0.917 | 0.041 | 0.042 | Read 1:720 | 0.051 | 0.047 | 0.046 | 0.045 | 0.047 | Read 1:720
|  | 58726 | 53239 | 53221 | 92122 | 97342 | 113007 | Read 2:485/20,528/20 | 54243 | 57216 | 52045 | 51342 | 52892 | Read 2:485/20,528/20
| E | 0.053 | 0.076 | 0.06 | 0.054 | 0.056 | 0.056 | Read 1:460 | 0.059 | 0.056 | 0.056 | 0.056 | 0.059 | Read 1:460
|  | 0.052 | 0.074 | 0.059 | 0.053 | 0.055 | 0.055 | Read 1:470 | 0.058 | 0.056 | 0.055 | 0.055 | 0.059 | Read 1:470
|  | 0.046 | 0.062 | 0.051 | 0.046 | 0.046 | 0.046 | Read 1:720 | 0.049 | 0.048 | 0.047 | 0.047 | 0.051 | Read 1:720
|  | 59177 | 58235 | 56941 | 57026 | 55515 | 56868 | Read 2:485/20,528/20 | 57122 | 56111 | 53213 | 52272 | 54118 | Read 2:485/20,528/20
| F | 0.053 | 0.053 | 0.052 | 0.055 | 0.052 | 0.074 | Read 1:460 | 0.052 | 0.06 | 0.055 | 0.055 | 0.058 | Read 1:460
|  | 0.052 | 0.052 | 0.051 | 0.054 | 0.052 | 0.073 | Read 1:470 | 0.052 | 0.059 | 0.054 | 0.054 | 0.057 | Read 1:470
|  | 0.044 | 0.046 | 0.045 | 0.047 | 0.046 | 0.061 | Read 1:720 | 0.046 | 0.05 | 0.047 | 0.047 | 0.05 | Read 1:720
|  | 61147 | 55047 | 54245 | 53747 | 52317 | 53871 | Read 2:485/20,528/20 | 57386 | 53475 | 51506 | 52591 | 50311 | Read 2:485/20,528/20
| G | 0.053 | 0.055 | 0.061 | 0.056 | 0.056 | 0.052 | Read 1:460 | 0.053 | 0.055 | 0.052 | 0.059 | 0.056 | Read 1:460
|  | 0.051 | 0.054 | 0.06 | 0.055 | 0.055 | 0.052 | Read 1:470 | 0.052 | 0.055 | 0.052 | 0.059 | 0.055 | Read 1:470
|  | 0.044 | 0.047 | 0.051 | 0.048 | 0.048 | 0.046 | Read 1:720 | 0.046 | 0.048 | 0.046 | 0.053 | 0.049 | Read 1:720
|  | 60626 | 54726 | 59070 | 58990 | 57240 | 57978 | Read 2:485/20,528/20 | 56947 | 54418 | 54444 | 54775 | 50710 | Read 2:485/20,528/20
| H | 0.056 | 0.059 | 0.059 | 0.054 | 0.057 | 0.052 | Read 1:460 | 0.061 | 0.059 | 0.055 | 0.053 | 0.06 | Read 1:460
|  | 0.055 | 0.058 | 0.058 | 0.053 | 0.057 | 0.051 | Read 1:470 | 0.06 | 0.058 | 0.054 | 0.053 | 0.059 | Read 1:470
|  | 0.047 | 0.048 | 0.049 | 0.046 | 0.049 | 0.045 | Read 1:720 | 0.05 | 0.049 | 0.047 | 0.046 | 0.051 | Read 1:720
|  | 60947 | 55002 | 52591 | 54102 | 54659 | 54095 | Read 2:485/20,528/20 | 53840 | 51160 | 50586 | 49324 | 50656 | Read 2:485/20,528/20

## Sheet1
0.042
0.041
0.041 | 0.041333
Absorbance at 460 | Well 1 | Well 2 | Well 3 | Absorbance Correction with 720 nm | Well 1 Correction | Well 2 Correction | Well 3 Correction | Avg |  |  | Viability | % Viability
pDNA | 0.431 | 0.549 | 0.426 | pDNA | 0.38967 | 0.50767 | 0.38467 | 0.42733 |  |  | 0.85983 | 85.9826
UT | 0.56 | 0.563 | 0.492 | UT | 0.51867 | 0.52167 | 0.45067 | 0.497 | AVG Untreated |  | 1 | 100
JETPei | 0.383 | 0.308 | 0.292 | JETPei | 0.34167 | 0.26667 | 0.25067 | 0.28633 |  |  | 0.57612 | 57.6123 | Usually 50-60% viability
LPF | 0.418 | 0.51 | 0.465 | LPF | 0.37667 | 0.46867 | 0.42367 | 0.423 |  |  | 0.85111 | 85.1107 | Usually >70% viability
DIP70 N/P 10 | 0.456 | 0.491 | 0.587 | DIP70 N/P 10 | 0.41467 | 0.44967 | 0.54567 | 0.47 |  |  | 0.94567 | 94.5674
|  |  |  | Normalization with UT | 1.0436 | 1.0496 | 0.90677 | 1
[5 empty] | 104.3595 | 104.9631 | 90.6774 | 100
|  |  |  | Variable | Well 1 | Well 2 | Well 3 |  |  |  | Well 1 | Well 2 | Well 3 | Average | StdDev
|  |  |  | pDNA | 0.78404 | 1.0215 | 0.77398 |  |  | pDNA | 78.4038 | 102.1462 | 77.3977 | 85.9826 | 11.4368
|  |  |  | UT | 1.0436 | 1.0496 | 0.90677 |  |  | UT | 104.3595 | 104.9631 | 90.6774 | 100 | 6.5967
|  |  |  | JETPei | 0.68746 | 0.53655 | 0.50436 |  |  | JETPei | 68.7458 | 53.6553 | 50.4359 | 57.6123 | 7.9815
|  |  |  | LPF | 0.75788 | 0.94299 | 0.85245 |  |  | LPF | 75.7881 | 94.2991 | 85.2448 | 85.1107 | 7.5577
|  |  |  | DIP70 N/P 1 | 0.83434 | 0.90476 | 1.0979 |  |  | DIP70 N/P 1 | 83.4339 | 90.4762 | 109.7921 | 94.5674 | 11.1428

## Sheet2
Variables | Viability | Standard Deviation | Transfection | StdDev | Well 1 | Well 2 | Well 3
UT | 100 | 6.5967 | 0.13667 | 0.1291 | 0.09 | 0.2 | 0.12
pDNA + water | 85.9826 | 11.4368 | 0.32333 | 0.021602 | 0.33 | 0.2 | 0.44
jetPEI | 57.6123 | 7.9815 | 51.1833 | 15.7917 | 46.83 | 45.45 | 61.27
LPF2000 | 85.1107 | 7.5577 | 43.4267 | 5.0229 | 48.52 | 45.28 | 36.48
N/P 10 | 94.5674 | 11.1428 | 0.14 | 0.40089 | 0.14 | 0.11 | 0.17